## Disclaimer
MassCEC provides the information contained in this report "AS IS," without warranties of any kind. MassCEC expressly disclaims any representations and warranties, including without limitation, the implied warranties of merchantability and fitness for a particular purpose and those arising by statute or by law, or from a cause of dealing or usage of trade. MassCEC shall have absolutely no liability in connection with the report including without limitation, any liability for any loss caused by or arising from any errors, omission or inaccuracies of the report or any information therein, regardless of how caused, or for any decision made or not made or any action taken or not taken in reliance upon the report or any information therein.

## Results
Commonwealth of Massachusetts
Executive Office of Energy and Environmental Affairs
DEPARTMENT OF ENERGY RESOURCES
RPS SOLAR CARVE-OUT
Determination of Average Solar PV Capacity Factor
(per 225 CMR 14.07(2)(e)1.)
|  |  | Year | # of Systems in Sample | Average Capacity Factor
|  |  | 2020 | 67215 | 13.29%
|  |  | 2019 | 69741 | 12.98%
|  |  | 2018 | 61545 | 12.41%
|  |  | 2017 | 55204 | 12.61%
|  |  | 2016 | 40037 | 13.89%
|  |  | 2015 | 18447 | 13.47%
|  |  | 2014 | 10807 | 13.45%
|  |  | 2013 | 6327 | 13.64%
|  |  | 2012 | 3112 | 13.53%
|  |  | 2011 | 1727 | 12.44%
|  |  | 2010 | 1211 | 13.04%
|  |  |  | 11-Year Average Capacity Factor | 13.05%
Note: Systems with capacity factors less than 10% or greater than 20% were excluded from yearly samples. Systems without 12-months of production data were also removed.